Phase I Municipal Consent Orders

GIS Map Submission Requirements

CSS Municipalities

Submit a GIS map in hard copy and electronic PDF format based upon the 2008 Comprehensive Flow Monitoring Program conducted by ALCOSAN and updated with the following information:

- Identification of areas suitable for green infrastructure (GI) projects

- Identification of streams conveyed into the sewer system

- Identification of areas for other source reduction projects

The GIS map must include an appropriate legend.

SSS Municipalities

Submit a GIS map in hard copy and electronic PDF format based upon the 2008 Comprehensive Flow Monitoring Program conducted by ALCOSAN and updated with the following information:

- Identification of areas or sub-watersheds with high inflow and infiltration rates

- Identification of streams conveyed into the sewer system

- Identification of areas that might benefit from sewer lining or replacement

- Identification of areas which may benefit from lateral inspection and repair

The GIS map must include an appropriate legend with a range of inflow and infiltration units.

Mixed CSS/SSS Municipalities

Submit a GIS map in hard copy and electronic PDF format based upon the 2008 Comprehensive Flow Monitoring Program conducted by ALCOSAN and updated with the following information:

- Identification of areas suitable for green infrastructure (GI) projects

- Identification of streams conveyed into the sewer system

- Identification of areas for other source reduction projects

- Identification of areas or sub-watersheds with high inflow and infiltration rates

- Identification of areas that might benefit from sewer lining or replacement

- Identification of areas which may benefit from lateral inspection and repair

The GIS map must include an appropriate legend with a range of inflow and infiltration units for the SSS portion of the sewer system.